## Slide 1
SPICA-VIS Design Review, July 23-24, 2020
The STS as reference source
Stéphane Lagarde/Denis Mourard
Co-alignment Procedure
How to co-align and co-phase SPICA_VIS with CHARA?
CHARA Reference Source not usable → Necessary use of the STS
SPICA_VIS
Spectrograph
SPICA_VIS
Before Fiber Units
SPICA_VIS
Feeding Optics
VISIBLE TABLE
CHARA Reference Sources
IR TABLE 2
CLIMB CLASSIC…
IR TABLE 1
MIRC, SPICA-FT…
METROLOGY
TABLE
VISIBLE TABLE
IR
VIS
BEAM COMBINATION LABORATORY
STS Sources Direction
CHARA Reference Source Direction
STS

## Slide 2
SPICA-VIS Design Review, July 23-24, 2020
The SPICA adjustment modules
Stéphane Lagarde/Denis Mourard
Co-alignment Procedure
ANGULAR ADJUSTEMENT MODULES
SFO-IMG
(Image Adjustment)
SFO-FOP
(Feeding Optics)
ADC
(Atmospheric Dispersion Compensator)
CHARA VISIBLE TABLE
PDC
(Polarization Delay Compensator)
BFO-RFL
BFO-BSP
BCS-FOM
BCS-BCC
BCS-PIS
BCS-BCD
BAS-COL
SHU
BAS-FOC
BAS-TTT
(Tip/Tilt Tracker)
BAS-PUP
(Pupil Adjustment)
SFU-SDL
(SPICA Delay Lines)
Specification: Accuracy < 10as

## Slide 3
SPICA-VIS Design Review, July 23-24, 2020
The SPICA adjustment modules
Stéphane Lagarde/Denis Mourard
Co-alignment Procedure
LATERAL ADJUSTEMENT MODULES
SFO-IMG
(Image Adjustment)
SFO-FOP
(Feeding Optics)
ADC
(Atmospheric Dispersion Compensator)
CHARA VISIBLE TABLE
PDC
(Polarization Delay Compensator)
BFO-RFL
BFO-BSP
BCS-FOM
BCS-BCC
BCS-PIS
BCS-BCD
BAS-COL
SHU
BAS-FOC
BAS-TTT
(Tip/Tilt Tracker)
BAS-PUP
(Pupil Adjustment)
SFU-SDL
(SPICA Delay Lines)
Specification: Accuracy < 1mm
Notes: bras de levier 30mm, picometer actuators 8301 Newport accuracy 30nm => 0.4as << spec = 10as

## Slide 4
SPICA-VIS Design Review, July 23-24, 2020
The SPICA adjustment modules
Stéphane Lagarde/Denis Mourard
Co-alignment Procedure
OPD ADJUSTEMENT MODULES
SFO-IMG
(Image Adjustment)
SFO-FOP
(Feeding Optics)
ADC
(Atmospheric Dispersion Compensator)
CHARA VISIBLE TABLE
PDC
(Polarization Delay Compensator)
BFO-RFL
BFO-BSP
BCS-FOM
BCS-BCC
BCS-PIS
BCS-BCD
BAS-COL
SHU
BAS-FOC
BAS-TTT
(Tip/Tilt Tracker)
BAS-PUP
(Pupil Adjustment)
SFU-SDL
(SPICA Delay Lines)
Specification: Accuracy < 7µm
Notes: PUP (TBC) : bras de levier 20mm, focale du focalisateur et du collimateur, picometer actuators 8301 Newport accuracy 30nm => 0.6µm !!! << 1mm

## Slide 5
SPICA-VIS Design Review, July 23-24, 2020
Stéphane Lagarde/Denis Mourard
Co-alignment Procedure
THE SPICA BEAM CONTROL SYSTEM
PDC
(Polarization Delay Compensator)
BFO-RFL
BFO-BSP
BCS-FOM
BCS-BCC
BCS-PIS
BCS-BCD
BAS-COL
SHU
BAS-FOC
BAS-TTT
(Tip/Tilt Tracker)
BAS-PUP
(Pupil Adjustment)
SFU-SDL
(SPICA Delay Lines)
SFO-IMG
(Image Adjustment)
SFO-FOP
(Feeding Optics)
ADC
(Atmospheric Dispersion Compensator)
CHARA VISIBLE TABLE
The SPICA adjustment modules
BCS
(Beam Control System)
Specification: Sampling
Image: 3pixels per l/D
Pupil: 40pixels
Notes: SDL : Newport 25mm MFA-PPD resolution = 0.1µm, typical accuracy = 0.9µm, guaranteed accuracy = 3µm << spec

## Slide 6
SPICA-VIS Design Review, July 23-24, 2020
The co-alignment procedure
Stéphane Lagarde/Denis Mourard
Co-alignment Procedure
Find the reference axis of SPICA
BFO-BSP
BFO-RFL
BCS-FOM
BCS-BCC
BCS-PIS
BCS-BCD
CHARA (STS_VIS)
FBI
SFU
SPICA AXIS
SFO-FOP
SFO-IMG
BAS-PUP
BAS-TTT
1
b) Determination of the image and pupil reference positions
a) Back Illumination of the fiber

## Slide 7
SPICA-VIS Design Review, July 23-24, 2020
The co-alignment procedure
Stéphane Lagarde/Denis Mourard
Co-alignment Procedure
Co-align SPICA and CHARA
BFO-BSP
BFO-RFL
BCS-FOM
BCS-BCC
BCS-PIS
BCS-BCD
CHARA (STS_VIS)
FBI
SFU
SPICA AXIS
SFO-FOP
SFO-IMG
BAS-PUP
BAS-TTT
CHARA AXIS
2
a) Illumination of SPICA by the STS source
b) Comparison between image and pupil positions and the references
c) Adjustment of the beam the angular and lateral

## Slide 8
BFO-BSP
CHARA (STS)
SFU
SFO-FOP
SFO-IMG
BAS-PUP
BAS-TTT
b) Determination of the OPD difference between SPICA and IR instruments
a) Co-phasing between STS and IR instruments
DIS
CAO
SDT
IR INSTRUMENTS:
MIRC OU SPICA_FT
DICHROICS VIS/IR
c) Adjustment of the SPICA internal Delay Lines
SFU-SDL